## CONTACTOR
CONTACTOR STOCK AS ON DATE
S.NO | ITEM CODE | ITEM DETAILS | HSN CODE | PHY STOCK | RECIVED | TOTAL | ISSUE | BALANCE | RECIVED | ISSUE | BALANCE
1 | ECT0001 | 3TF30-10-0AP0-(230V/50HZ,276/60) (9A-415V) SIEMENS AIR BREAK POWER CONTACTOR |  | 3 |  | 3 |  | 3 |  |  | 3
2 | ECT0002 | 3TF32-00-0AP0-(230V/50HZ,276/60) (16A-415V) SIEMENS AIR BREAK POWER CONTACTOR |  | 3 |  | 3 |  | 3 |  |  | 3
3 | ECT0003 | 3TF35-00-0AP0-(230V/50HZ) (38 A-415V) SIEMENS AIR BREAK POWER CONTACTOR |  | 4 |  | 4 |  | 4 |  |  | 4
4 | ECT0004 | LC1E2510B5 SCHNEIDER CONTACTOR |  | 2 |  | 2 |  | 2 |  |  | 2
5 | ECT0005 | LC1E2510B7 SCHNEIDER CONTACTOR |  | 3 |  | 3 |  | 3 |  |  | 3
6 | ECT0006 | LC1E 3810M5/B5 SCHNEIDER CONTACTOR |  | 4 |  | 4 |  | 4 |  |  | 4
7 | ECT0007 | LC1E3810M7 /B7 SCHNEIDER CONTACTOR |  | 1 |  | 1 |  | 1 |  |  | 1
8 | ECT0008 | LC1E40M7 SCHNEIDER CONTACTOR |  | 3 |  | 3 |  | 3 |  |  | 3
9 | ECT0009 | LC1D12M7 SCHNEIDER CONTACTOR |  | 7 |  | 7 |  | 7 |  |  | 7
10 | ECT0010 | LC1D18M7SCHNEIDER CONTACTOR |  | 4 |  | 4 | 2 | 2 |  |  | 2
11 | ECT0011 | LC1D25M7 SCHNEIDER CONTACTOR |  | 0 |  | 0 |  | 0 |  |  | 0
12 | ECT0012 | LC1D32M7 SCHNEIDER CONTACTOR |  | 1 |  | 1 |  | 1 |  | 1 | 0
13 | ECT0013 | LC1D40AM7 SCHNEIDER CONTACTOR |  | 2 |  | 2 |  | 2 |  |  | 2
14 | ECT0014 | LC1D65AM7 SCHNEIDER CONTACTOR |  | 4 |  | 4 |  | 4 |  |  | 4
15 | ECT0015 | LC1D80AM7 SCHNEIDER CONTACTOR |  | 4 |  | 4 |  | 4 |  |  | 4
16 | ECT0016 | MNX12 240 Vac POWER CONTACTOR |  | 2 |  | 2 |  | 2 |  |  | 2
17 | ECT0017 | MNX18 240 Vac POWER CONTACTOR |  | 2 |  | 2 |  | 2 |  |  | 2
18 | ECT0018 | MNX25 -240 Vac POWER CONTACTOR |  | 1 |  | 1 |  | 1 |  |  | 1
19 | ECT0019 | MNX 32-110V POWER CONTACTOR |  | 0 |  | 0 |  | 0 |  |  | 0
20 | ECT0020 | MNX 32-240V POWER CONTACTOR |  | 0 |  | 0 |  | 0 |  |  | 0
21 | ECT0021 | MNX 40-110V (L&T)(SWITCHGEAR) CONTACTOR |  | 1 |  | 1 |  | 1 |  |  | 1
22 | ECT0022 | MNX40-240V (L&T)(SWITCHGEAR) CONTACTOR |  | 2 |  | 2 |  | 2 |  |  | 2
23 | ECT0023 | ABB 25AMPS -230V/50 HZ CONTACTOR |  | 2 |  | 2 |  | 2 |  |  | 2
24 | ECT0024 | ABB -45 AMPS 230V /50 HZ/ 240V /60HZ CONTACTOR |  | 2 |  | 2 |  | 2 |  |  | 2
25 | ECT0025 | LC1DPKM7 -30 KVAR CONTACTORS -CAPACITOR |  | 2 |  | 2 |  | 2 |  |  | 2
26 | ECT0026 | LC1DMKM7 -25 KVAR CONTACTORS -CAPACITOR |  | 4 |  | 4 |  | 4 |  |  | 4
27 | ECT0027 | LC1DLKM7-20 KVAR CONTACTORS -CAPACITOR |  | 2 |  | 2 |  | 2 |  |  | 2
28 | ECT0028 | LC1DWKM7C -62 KVAR CONTACTORS -CAPACITOR |  | 1 |  | 1 |  | 1 |  |  | 1
29 | ECT0029 | LC1`DWK12M7 -SWITCHING CONTACTORS -CAPACITOR |  | 1 |  | 1 |  | 1 |  |  | 1
30 | ECT0030 | 3 kVAr X 440 V POWER CAPACITOR |  | 1 |  | 1 |  | 1 |  |  | 1
31 | ECT0031 | 20 KVR CAPACITOR (L&T) 440V -RACK |  | 1 |  | 1 |  | 1 |  |  | 1
32 | ECT0032 | LC1D1157 SCHNEIDER CONTACTOR |  | 3 |  | 3 |  | 3 |  |  | 3
33 | ECT0033 | LC1D1400 SCHNEIDER CONTACTOR |  | 1 |  | 1 |  | 1 |  |  | 1
34 | ECT0034 | LA5D150830 SCHNEIDER CONTACTOR KIT (LC1D150) |  | 1 |  | 1 |  | 1 |  |  | 1
35 | ECT0035 | LA5FF431 SCHNEIDER CONTACTOR KIT (LC1F150,LC1F115) |  | 2 |  | 2 |  | 2 |  |  | 2
36 | ECT0036 | LAF400803 SCHNEIDER CONTACTOR KIT (LC1F400) |  | 1 |  | 1 |  | 1 |  |  | 1
Note on H14: top blower stater on 23/07/2026 - 2 no
Note on K16: ETP SLUDGE TANK ON 01/08/2026

## RELAY
RELAY STOCK AS ON DATE 11/07/2026
[5 empty] | 2026-07-21 |  |  |  | 2026-07-22
S.NO | ITEM CODE | ITEM DETAILS | HSN CODE | PHY STOCK | RECIVED | TOTAL | ISSUE | BALANCE | RECIVED | ISSUE | BALANCE
1 | ERE0001 | SCHNEIDER RELAY LRD 07 (1.6 AMPS -2.5 AMPS) THERMAL OVERLOAD RELAY |  | 2 |  | 2 |  | 2 |  |  | 2
2 | ERE0002 | SCHNEIDER RELAY LRD 10 (4 AMPS -6 AMPS) THERMAL OVERLOAD RELAY |  | 2 |  | 2 |  | 2 |  |  | 2
3 | ERE0003 | SCHNEIDER RELAY LRD 16 (9 AMPS -13AMPS) THERMAL OVERLOAD RELAY |  | 3 |  | 3 |  | 3 |  |  | 3
4 | ERE0004 | SCHNEIDER RELAY LRD 21 (12 AMPS -18AMPS) THERMAL OVERLOAD RELAY |  | 2 |  | 2 |  | 2 |  | 1 | 1
5 | ERE0005 | SCHNEIDER RELAY LRD 22 (16AMPS -24 AMPS) THERMAL OVERLOAD RELAY |  | 2 |  | 2 | 1 | 1 |  |  | 1
6 | ERE0006 | SCHNEIDER RELAY LRD 32 (23AMPS-32 AMPS) THERMAL OVERLOAD RELAY |  | 1 |  | 1 |  | 1 |  |  | 1
7 | ERE0007 | SCHNEIDER RELAY LRD 35 (30AMPS-38 AMPS) THERMAL OVERLOAD RELAY |  | 0 |  | 0 |  | 0 |  |  | 0
8 | ERE0008 | SCHNEIDER RELAY LRE35 (30AMPS-38 AMPS) THERMAL OVERLOAD RELAY |  | 6 |  | 6 |  | 6 |  |  | 6
9 | ERE0009 | SCHNEIDER RELAY LRE353 (23AMPS-32 AMPS) THERMAL OVERLOAD RELAY |  | 0 |  | 0 |  | 0 |  |  | 0
10 | ERE0010 | L & T (SWITCHGEAR) MN2 THERMAL OVERLOAD RELAY (2- 3.3 AMPS) |  | 4 |  | 4 |  | 4 |  |  | 4
11 | ERE0011 | L & T (SWITCHGEAR) MN2 THERMAL OVERLOAD RELAY (3- 5 AMPS) |  | 5 |  | 5 |  | 5 |  |  | 5
12 | ERE0012 | L & T (SWITCHGEAR) MN2 THERMAL OVERLOAD RELAY (9- 15 AMPS) |  | 0 |  | 0 |  | 0 |  |  | 0
13 | ERE0013 | ABB THERMAL OVERLOAD RELAY (10 -14 AMPS) |  | 2 |  | 2 |  | 2 |  |  | 2
14 | ERE0014 | MK1 STARTER THERMAL OVERLOAD RELAY (1.5 -2.5 AMPS) |  | 1 |  | 1 |  | 1 |  |  | 1
15 | ERE0015 | MK1 STARTER THERMAL OVERLOAD RELAY (4- 6.5 AMPS) |  | 2 |  | 2 |  | 2 |  |  | 2
16 | ERE0016 | MK1 STARTER THERMAL OVERLOAD RELAY (6-10 AMPS) |  | 2 |  | 2 |  | 2 |  |  | 2
17 | ERE0017 | MK1 STARTER THERMAL OVERLOAD RELAY (9-14 AMPS) |  | 0 |  | 0 |  | 0 |  |  | 0
18 | ERE0018 | LR 9F 5369 ELECTROIC OVERLOAD RELAY |  | 1 |  | 1 |  | 1 |  |  | 1
19 | ERE0019 | LR 9F7375 ELECTROIC OVERLOAD RELAY |  | 1 |  | 1 |  | 1 |  |  | 1
20 | ERE0020 | L & T (SWITCHGEAR) MN2 THERMAL OVERLOAD RELAY (4.5- 7.5AMPS) |  | 1 |  | 1 |  | 1 |  |  | 1
21 | ERE0021 | SIEMENS REAL (20AMPS-25AMPS) THERMAL OVERLOAD RELAY |  | 2 |  | 2 |  | 2 |  |  | 2
22 | ERE0022 | SIEMENS REAL (2.8AMPS-4AMPS) THERMAL OVERLOAD RELAY |  | 2 |  | 2 |  | 2 |  |  | 2
23 | ERE0023 | L & T (SWITCHGEAR) 353 THERMAL OVERLOAD RELAY (23AMPS-32AMPS) |  | 2 |  | 2 |  | 2 |  |  | 2
24 | ERE0024 | L & T (SWITCHGEAR) 3355 THERMAL OVERLOAD RELAY (30AMPS-40AMPS) |  | 1 |  | 1 |  | 1 |  |  | 1
25 | ERE0025 | MINILEC BP-VOLTAGE SENSING PHASE FAILURE RELAY 380-440V AC(S1 VMR7) |  | 4 |  | 4 |  | 4 |  | 1 | 3
Note on K8: ETP SLUDGE TANK ON 01/08/2026
Note on H9: on 21/07/2026- 1 no
Note on K29: ISSUED ON 29/07/26 FOR ETP COMPRESER-1

## MCB
MCB STOCK AS ON DATE 11/07/2026
S NO. | ITEM CODE | ITEM WITH DETAIL | PHY STOCK | RECIVED | TOTAL | ISSUE | BALANCE | RECIVED | ISSUE | BALANCE
1 | EMC0001 | EATON 80 AMPS FUSE (690 V-200KA )-SIZE -1 | 8 |  | 8 |  | 8 |  |  | 8
2 | EMC0002 | L&t 160 AMPS SIZE 00 | 1 |  | 1 |  | 1 |  |  | 1
3 | EMC0003 | C& S 200 AMPS FUSE (500V-80KA) SIZE -1 | 1 |  | 1 |  | 1 |  |  | 1
4 | EMC0004 | 200 AMPS HRC FUSE (SIZE-0) | 3 |  | 3 |  | 3 |  |  | 3
5 | EMC0005 | L& T SWITCHGEAR 400 AMPS (415 V -100 KA) SIZE -2 | 1 |  | 1 |  | 1 |  |  | 1
6 | EMC0006 | MCB 6AMPS-1 P | 1 |  | 1 |  | 1 |  |  | 1
7 | EMC0007 | MCB 6AMPS -2 P | 3 |  | 3 |  | 3 |  |  | 3
8 | EMC0008 | MCB 6AMPS -3 P | 3 |  | 3 |  | 3 |  | 2 | 1
9 | EMC0009 | MCB 10AMPS-1 P | 1 |  | 1 |  | 1 |  |  | 1
10 | EMC0010 | MCB 10AMPS-3 P | 1 |  | 1 |  | 1 |  |  | 1
11 | EMC0011 | MCB 16 AMPS -1P | 3 |  | 3 |  | 3 |  |  | 3
12 | EMC0012 | MCB 16 AMPS -3P | 6 |  | 6 |  | 6 |  | 2 | 4
13 | EMC0013 | MCB 25 AMPS -3P | 3 |  | 3 |  | 3 |  |  | 3
14 | EMC0014 | MCB 32AMPS-3P | 5 |  | 5 | 1 | 4 |  | 1 | 3
15 | EMC0015 | MCB 32AMPS-4P | 9 |  | 9 |  | 9 |  |  | 9
16 | EMC0016 | MCB 40 AMPS -3P | 1 |  | 1 |  | 1 |  |  | 1
17 | EMC0017 | MCB 63AMPS -3P | 4 |  | 4 | 1 | 3 |  |  | 3
18 | EMC0018 | MCB 63 AMPS -4 P | 3 |  | 3 |  | 3 |  |  | 3
19 | EMC0019 | LV510307 MCCB 100 A -3P | 1 |  | 1 |  | 1 |  |  | 1
20 | EMC0020 | LV516303 MCCB 160 A 3P | 3 |  | 3 |  | 3 |  |  | 3
21 | EMC0021 | LV525303 MCCB 250A 3P /SWITCH GEAR 25 KA | 2 |  | 2 |  | 2 |  |  | 2
22 | EMC0022 | LV563307 300A -3P MCCB | 1 |  | 1 |  | 1 |  |  | 1
23 | EMC0023 | MCB 32 AMPS 2P | 2 |  | 2 |  | 2 |  |  | 2
24 | EMC0024 | MCB 25 AMPS 2P | 1 |  | 1 |  | 1 |  |  | 1
Note on J12: WORK SHOP GRANDING MICHEN ON 04/08/2026- 2 NO
Note on J16: RECTION PUMP ON 25/07/26- 2 NO
Note on G18: WELDING MECHINE WORK SHOP ON 14/07/2026- 1 NO
Note on J18: CONVER BELT PULLP MILL ON 19/07/2026- 1 NO
Note on G21: MOTER CHECKING BOARD - ON 14/07/2026 -1 NO

## ELE GENERAL
ELECTRICAL GENERAL STOCK AS ON 16/07/2026
S.NO | ITEM CODE | ITEM DETAILS | PHY STOCK | RECIVED | TOTAL | ISSUE | BALANCE | RECIVED | ISSUE | BALANCE
1 | ELEG0001 | MOTOR STATR 9-14 AMP AMPER | 1 |  | 1 | 1 | 0 |  |  | 0
2 | ELEG0002 | SIEMENS 3TY7 460-OYA CONTACTOR KIT | 4 |  | 4 |  | 4 |  |  | 4
3 | ELEG0003 | REWIDER POTENTIO METER 10K | 4 |  | 4 |  | 4 |  |  | 4
4 | ELEG0004 | PRESOR SWITCH 10A | 1 |  | 1 |  | 1 |  |  | 1
5 | ELEG0005 | SMPS 24 V 10A | 2 |  | 2 |  | 2 |  |  | 2
6 | ELEG0006 | MK1 STATOR COIL | 5 |  | 5 |  | 5 |  |  | 5
7 | ELEG0007 | L&T MK1 STATOR RELAY KIT | 3 |  | 3 |  | 3 |  |  | 3
8 | ELEG0008 | SIEMENS NET CONETER | 1 |  | 1 |  | 1 |  |  | 1
9 | ELEG0009 | ADD ON BLOK | 4 |  | 4 |  | 4 |  |  | 4
10 | ELEG0010 | L&T ADD ON BLOK 2NO2NC | 1 |  | 1 |  | 1 |  |  | 1
11 | ELEG0011 | SIEMENS ADD ON BLOK 2NO2NC | 6 |  | 6 |  | 6 |  |  | 6
12 | ELEG0012 | L&T COMPRSER TERMINAL | 1 |  | 1 |  | 1 |  |  | 1
13 | ELEG0013 | PID CONTROLLER TN: 00442008 (JUMO MAKE) | 1 |  | 1 |  | 1 |  |  | 1
14 | ELEG0014 | SWITCH GEAR MAKE CONTROLLER 3 PH ,380V,CAT: ST921660000 | 1 |  | 1 |  | 1 |  |  | 1
15 | ELEG0015 | SIREN 150-MFTER1, 90-120CB | 1 |  | 1 |  | 1 |  |  | 1
16 | ELEG0016 | REPON/SIBASS FAN- 24 V | 3 |  | 3 |  | 3 |  |  | 3
17 | ELEG0017 | 100 WATS FLOOD LIGHT | 3 |  | 3 |  | 3 |  |  | 3
18 | ELEG0018 | LED TUBE LIGHTS | 20 |  | 20 | 3 | 17 |  | 2 | 15
19 | ELEG0019 | LX1FJ220 COIL SCHNEIDER | 2 |  | 2 |  | 2 |  |  | 2
20 | ELEG0020 | 12SDTO STATER DELTA TIMER 3S-120S | 1 |  | 1 |  | 1 |  |  | 1
21 | ELEG0021 | 120DTY STATER DELTA TIMER 3S-30S | 1 |  | 1 |  | 1 |  |  | 1
22 | ELEG0022 | SIEMENS ELECTORNIC TIMER (3RP15131AP308K) 3-60S | 6 |  | 6 |  | 6 |  |  | 6
23 | ELEG0023 | SIEMENS ELECTORNIC TIMER (3RP15131AP308K) 5S-100S | 4 |  | 4 |  | 4 |  |  | 4
24 | ELEG0024 | TEMPERATURE CONTROLLER (513AX) | 2 |  | 2 |  | 2 |  |  | 2
25 | ELEG0025 | TEMPERATURE CONTROLLER (513) | 3 |  | 3 |  | 3 |  |  | 3
26 | ELEG0026 | ROTAEY SWITCH (SAI2FR) (61192SCB03TDYR) | 2 |  | 2 |  | 2 |  |  | 2
27 | ELEG0027 | LIMIT SWITCH (240V/30V) JAI BALAJI | 2 |  | 2 |  | 2 |  |  | 2
28 | ELEG0028 | ONDELAY TIMER 0.6S-60M PLY 2C/O CSA | 3 |  | 3 |  | 3 |  |  | 3
29 | ELEG0029 | ONDELAY TIMER 0.6S-60M PLY 2C/O CSA | 3 |  | 3 |  | 3 |  |  | 3
30 | ELEG0030 | STAR DELTA TIMER 3S-120S (2ASDT0) (24-240VAC/DC) | 4 |  | 4 |  | 4 |  |  | 4
31 | ELEG0031 | TERMINAL PLATE CROMPTON (100 HP) (T17037) | 2 |  | 2 |  | 2 |  |  | 2
32 | ELEG0032 | TERMINAL PLATE CROMPTON (320 HP) (W60XL385XT30) | 2 |  | 2 |  | 2 |  |  | 2
33 | ELEG0033 | TERMINAL PLATE ABB 200HP (T17128) TAMCO | 1 |  | 1 |  | 1 |  |  | 1
34 | ELEG0034 | TERMINAL PLATE CROMPTON T1 7138 | 1 |  | 1 |  | 1 |  |  | 1
35 | ELEG0035 | TERMINAL PLATE RX6 STUD 7009 | 2 |  | 2 |  | 2 |  |  | 2
36 | ELEG0036 | DISTRIBUSTION BOX | 3 |  | 3 |  | 3 |  |  | 3
37 | ELEG0037 | RPM METER MULTISPAN PI-38-A2-00 (AC) 999 TO 9999) | 3 |  | 3 |  | 3 |  |  | 3
38 | ELEG0038 | TECHNO METER CONTER (C-96X) | 2 |  | 2 |  | 2 |  |  | 2
39 | ELEG0039 | PROCERSS INDICATOR PIC101A-VI230 | 1 |  | 1 |  | 1 |  |  | 1
40 | ELEG0040 | PROCERSS INDICATOR PIC101A-VI230 | 1 |  | 1 |  | 1 |  |  | 1
41 | ELEG0041 | SCHENIDER LADSN20 CONTACT BLOCKS | 2 |  | 2 |  | 2 |  |  | 2
42 | ELEG0042 | SCHENIDER LADT2 TIMER DELAY BLOCKS | 2 |  | 2 |  | 2 |  |  | 2
43 | ELEG0043 | L&T COIL-MK1 CAT NO: AA9000470000 | 1 |  | 1 |  | 1 |  |  | 1
44 | ELEG0044 | SCHENIDER LA7D3064 TERMINAL BLOCK | 1 |  | 1 |  | 1 |  |  | 1
45 | ELEG0045 | TERMINAL PLATE TAMCO T1-7040 | 2 |  | 2 |  | 2 |  |  | 2
46 | ELEG0046 | TERMINAL PLATE TAMCO T1-7135 | 2 |  | 2 |  | 2 |  |  | 2
47 | ELEG0047 | MOTOR FANS CR.AD-112 (HOLE24.5XOD190) KEY WAY TYPE | 4 | 4 | 8 |  | 8 |  |  | 8
48 | ELEG0048 | MOTOR FANS CR (HOLE 24 X OD155) PIN TYPE | 1 |  | 1 |  | 1 |  |  | 1
49 | ELEG0049 | MOTOR FANS ND-200 CR (HOLE56 X OD260) KEY WAY TYPE #1728 | 2 |  | 2 |  | 2 |  |  | 2
50 | ELEG0050 | MOTOR FANS CR (HOLE48 X OD290) SCREW TYPE | 2 |  | 2 |  | 2 |  |  | 2
51 | ELEG0051 | MOTOR FANS CR (HOLE48 X OD290) PIN TYPE | 2 |  | 2 |  | 2 |  |  | 2
52 | ELEG0052 | MOTOR FANS CR (HOLE 93 X OD 400) KEY WAY TYPE | 1 |  | 1 |  | 1 |  |  | 1
53 | ELEG0053 | TERMINAL BLOCK-PLATE Fr.ND200 CG (40HP) | 0 | 5 | 5 |  | 5 |  | 3 | 2
54 | ELEG0054 | TERMINAL BLOCK-PLATE Fr.ND160-180 CG (20-30HP) | 0 | 6 | 6 |  | 6 |  | 3 | 3
55 | ELEG0055 | TERMINAL BOX 112 /132 CG (40-20hp) | 0 | 4 | 4 |  | 4 |  |  | 4
56 | ELEG0056 | COLING FAN ND132 CG, (7.5HP) | 0 | 2 | 2 |  | 2 |  |  | 2
57 | ELEG0057 | COLING FAN ND160 CG, 4P (20HP) | 0 | 2 | 2 |  | 2 |  |  | 2
58 | ELEG0058 | COLING FAN F-80 (HOLE19XOD137) | 2 |  | 2 |  | 2 |  |  | 2
59 | ELEG0059 | 6 WAY PVC MCB BOX | 2 |  | 2 |  | 2 |  | 1 | 1
60 | ELEG0060 | 15" DULAUST FAG ALMOUCRD | 0 |  | 0 |  | 0 | 2 | 2 | 0
61 | ELEG0061 | COPPER FLAT LUGS 10 SQMM | 70 |  | 70 |  | 70 |  |  | 70
62 | ELEG0062 | COPPER FLAT LUGS 16 SQMM | 14 |  | 14 |  | 14 |  |  | 14
63 | ELEG0063 | COPPER FLAT LUGS 25 SQMM | 36 |  | 36 |  | 36 |  |  | 36
64 | ELEG0064 | COPPER FLAT LUGS 35 SQMM | 39 |  | 39 |  | 39 |  |  | 39
65 | ELEG0065 | COPPER FLAT LUGS 50 SQMM | 25 |  | 25 |  | 25 |  |  | 25
66 | ELEG0066 | COPPER FLAT LUGS 70 SQMM | 43 |  | 43 |  | 43 |  |  | 43
67 | ELEG0067 | COPPER FLAT LUGS 95 SQMM | 39 |  | 39 |  | 39 |  |  | 39
68 | ELEG0068 | COPPER FEMALE LUGS 95 SQMM | 19 |  | 19 |  | 19 |  |  | 19
69 | ELEG0069 | COPPER FEMALE LUGS 120 SQMM | 4 |  | 4 |  | 4 |  |  | 4
70 | ELEG0070 | COPPER FLAT LUGS 120 SQMM | 35 |  | 35 |  | 35 |  |  | 35
71 | ELEG0071 | COPPER FLAT LUGS 150 SQMM | 12 |  | 12 |  | 12 |  |  | 12
72 | ELEG0072 | ALUMINIUM FLAT LUGS 10 SQMM | 40 |  | 40 |  | 40 |  |  | 40
73 | ELEG0073 | ALUMINIUM FLAT LUGS 15 SQMM | 16 |  | 16 |  | 16 |  |  | 16
74 | ELEG0074 | ALUMINIUM FLAT LUGS 16 SQMM | 21 |  | 21 |  | 21 |  |  | 21
75 | ELEG0075 | ALUMINIUM FLAT LUGS 25 SQMM | 24 |  | 24 |  | 24 |  |  | 24
76 | ELEG0076 | ALUMINIUM FLAT LUGS 35 SQMM | 31 |  | 31 |  | 31 |  |  | 31
77 | ELEG0077 | ALUMINIUM FEMALE LUGS 150 SQMM | 30 |  | 30 |  | 30 |  |  | 30
78 | ELEG0078 | ALUMINIUM FLAT LUGS 185 SQMM | 12 |  | 12 |  | 12 |  |  | 12
79 | ELEG0079 | ALUMINIUM FLAT LUGS 240 SQMM | 23 |  | 23 |  | 23 |  |  | 23
80 | ELEG0080 | ALUMINIUM FLAT LUGS 300 SQMM | 4 |  | 4 |  | 4 |  |  | 4
81 | ELEG0081 | INSULATIN TAPE BLUE, GREEN, RED, YELLOW & BLACK | 0 |  | 0 |  | 0 |  | 1 | -1
82 | ELEG0082 | TERMINAL PLATE ABB 200HP (T1-7040) TAMCO | 2 |  | 2 |  | 2 |  |  | 2
83 | ELEG0083 | TERMINAL PLATE ABB 200HP (T1-7135) TAMCO | 2 |  | 2 |  | 2 |  |  | 2
Note on G4: MOTER CHECKING PENAL ON 14/07/2026- 1 NO
Note on G21: ON STORES 13/07/26 - 2 AJAY MCN ROOM-1 ON 14/07/26
Note on J21: Author: ISSUED ON 31/07/26 FOR COLONY-2 NO
Note on J56: 40 HP MOTER, CHEST PUMP NO -3 ON 19/07/2026 -2 NO 40 HP MOTER ON 21/07/26 - 1 NO
Note on J57: 20 HP MOTERS 20/7/26- 1 no 20 hp MOTER 23/07/26 - 1 NO
Note on J62: ISSUED ON 25/07/26 FOR RECTION PUMP-1 NO
Note on I63: Author: RECIVED ON 25/07/26 FROM DATTU ELECTRICALS
Note on J63: ISSUED ON 25/07/26 FOR 1400 RPM REWINDING MNC
Note on J84: ISSUED ON 28/07/26 FOR ELE DEPT